# HW #4: Wastewater Treatment

Dr. Zada Tawalbeh

Due Date: 3 January 2026

Question 1:
Solve the pipe network using Hazen–Williams method and Hardy Cross.
Assume CHW=110for all pipes.

| Pipe | Diameter (mm) | Length (m) |
| --- | --- | --- |
| (1–2) | 450 | 700 |
| (2–3) | 350 | 520 |
| (3–4) | 400 | 610 |
| (4–1) | 300 | 430 |

Nodal flows (positive=Clockwise, negative = Counterclockwise)

- Node 1: +0.55 m³/s

- Node 2: −0.10 m³/s

- Node 3: −0.30 m³/s

- Node 4: −0.15 m³/s